## MDR_2017_745_Codes
Regulation (EU) 2017/745 MDR | Amount of Notified Bodies Notified | 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Notified Body Name & Number | BSI UK NB 0086 Brexit | TÜV SÜD PS NB 0123 | IMQ Italy NB 0051 | DEKRA GmbH NB 0124 | TÜV Rheinland NB 0197 | DARE!! NB 1912 | BSI NL NB 2797 | DEKRA Certification B.V. NB 0344 | MEDCERT GmbH NB 0482 | DNV GL Presafe NB 2460 | NSAI NB 0050 | CE Certiso Orvos NB 2409 | MDC MEDICAL DEVICE CERT. GmBH NB 0483 | INTERTEK Medical Notified Body AB NB 2862 | GMED NB 0459 | DQS NB 0297 | 3EC International a.s. NB 2265 | UDEM Adriatic d.o.o. NB 2696 | SGS FIMKO OY NB 0598 (ex-0403) | ISTITUTO SUPERIORE DI SANITA' NB 0373 | EUROFINS Expert Services Oy NB 0537
| Notification date | 2019-01-19 | 2019-05-27 | 2019-08-20 | 2019-08-28 | 2019-09-26 | 2019-11-05 | 2019-11-06 | 2019-12-14 | 2019-12-25 | 2020-02-06 | 2020-02-13 | 2020-03-20 | 2020-04-25 | 2020-05-15 | 2020-07-08 | 2020-08-08 | 2020-09-16 | 2020-12-05 | 2021-01-09 | 2021-02-16 | 2021-04-07
| NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link in NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO
I. CODES REFLECTING THE DESIGN AND INTENDED PURPOSE OF THE DEVICE
A. Active devices
1. Active implantable devices
MDA 0101 | Active implantable devices for stimulation/inhibition/monitoring | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) limited to stimulation devices excluding brain stimulators and pacemakers | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) restricted to active implantable devices for cardiovascular/vascular stimulation / inhibition / monitoring | _ | _ | _ | _ | _
MDA 0102 | Active implantable devices delivering drugs or other substances | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | _ | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | _ | _ | _ | _ | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | _ | _ | _
MDA 0103 | Active implantable devices supporting or replacing organ functions | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | _ | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | _ | _ | _ | _ | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | _ | _ | _
MDA 0104 | Active implantable devices utilising radiation and other active implantable devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | _ | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | _ | _ | _ | _ | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | _ | _ | _
2. Active non-implantable devices for imaging, monitoring and/or diagnosis
MDA 0201 | Active non-implantable imaging devices utilising ionizing radiation | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) EXCLUDING GAMMA RAY DEVICES | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | _ | Annex IX(I) Annex XI(A)
MDA 0202 | Active non-implantable imaging devices utilising non-ionizing radiation | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, excluding ultrasound devices | _ | Annex IX(I) Annex XI(A)
MDA 0203 | Active non-implantable devices for monitoring of vital physiological parameters | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | _ | Annex IX(I) Annex XI(A) Devices that directly contact central nervous system or central circulatory system, active therapeutic devices with an integrated or incorporated diagnostic function which significantly determines the patient management by the device (e.g. closed loop systems or automated external defibrillators), and devices that are intended for controlling, monitoring or directly influencing the performance of active implantable devices are excluded.
MDA 0204 | Other active non-implantable devices for monitoring and/or diagnosis | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, excluding audiometers | _ | Annex IX(I) Annex XI(A) Devices that directly contact central nervous system or central circulatory system, active therapeutic devices with an integrated or incorporated diagnostic function which significantly determines the patient management by the device (e.g. closed loop systems or automated external defibrillators), and devices that are intended for controlling, monitoring or directly influencing the performance of active implantable devices are excluded.
3. Active non-implantable therapeutic devices and general active non-implantable devices
MDA 0301 | Active non-implantable devices utilising ionizing radiation | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | Annex X Annex XI(B) Limited to therapeutic cyclotrons and linear accelerators | _
MDA 0302 | Active non-implantable devices utilising non-ionizing radiation | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | Annex IX(I) Annex XI(A) Devices that directly contact central nervous system or central circulatory system, active therapeutic devices with an integrated or incorporated diagnostic function which significantly determines the patient management by the device (e.g. closed loop systems or automated external defibrillators), and devices that are intended for controlling, monitoring or directly influencing the performance of active implantable devices are excluded.
MDA 0303 | Active non-implantable devices utilising hyperthermia/hypothermia | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, excluding blood warmers | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Heater-cooler units (blood warmers) are excluded.
MDA 0304 | Active non-implantable devices for shock-wave therapy (lithotripsy) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | _ | _ | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, limited to extracorporeal shockwave therapy of limbs and joints and shockwave HIFU | _ | _
MDA 0305 | Active non-implantable devices for stimulation or inhibition | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) excluding brain stimulation devices | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Except external pacemakers and heart defibrillators | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Devices that directly contact central nervous system or central circulatory system, therapeutic devices with an integrated or incorporated diagnostic function which significantly determines the patient management by the device (e.g. closed loop systems or automated external defibrillators), and devices that are intended for controlling, monitoring or directly influencing the performance of active implantable devices are excluded.
MDA 0306 | Active non-implantable devices for extra-corporal circulation, administration or removal of sub­ stances and haemapheresis | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Limited to devices for administration and removal of substances | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _
MDA 0307 | Active non-implantable respiratory devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) excluding hyperbaric chamber | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Excluding inhalation anaesthesia devices, lung ventilators and heart-lung machines | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Except hyperbaric chambers | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, excluding hyperbaric chambers | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDA 0308 | Active non-implantable devices for wound and skin care | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDA 0309 | Active non-implantable ophthalmologic devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, excluding surgical devices | _ | _
MDA 0310 | Active non-implantable devices for ear, nose and throat | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) restricted to external hearing aids | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Devices that are intended for controlling, monitoring or directly influencing the performance of active implantable devices are excluded.
MDA 0311 | Active non-implantable dental devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | _ | Annex IX(I) Annex XI(A)
MDA 0312 | Other active non-implantable surgical devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Devices that directly contact central nervous system or central circulatory system are excluded.
MDA 0313 | Active non-implantable prostheses, devices for rehabilitation and devices for patient positioning and transport | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) restricted to active non-implantable devices for patient positioning and transport | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, limited to hospital beds, physiotherapy equipment, rehabilitation, patient positioning and transport devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Active prostheses and exoskeletons are excluded.
MDA 0314 | Active non-implantable devices for processing and preservation of human cells, tissues or or­ gans including in vitro fertilisation (IVF) and assisted reproductive technologies (ART) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) excluding IVF and ART; limited to devices for cryopreservation | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) excluding in vitro fertilisation (IVF) and assisted reproductive technologies (ART) | _ | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | _ | _
MDA 0315 | Software | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Software intended to provide information, which is used to take decisions having an impact that may cause death or an irreversible deterioration of a person's state of health, and therapeutic devices with an integrated or incorporated diagnostic function, which significantly determines the patient management by the device e.g. closed loop systems or automated external defibrillators, are excluded.
MDA 0316 | Medical gas supply systems and parts thereof | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDA 0317 | Active non-implantable devices for cleaning, disinfection and sterilisation | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb, limited to autoclaves | _ | Annex IX(I) Annex XI(A) Devices for sterilization are excluded.
MDA 0318 | Other active non-implantable devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
B. Non-active devices
1. Non-active implants and long term surgically invasive devices
MDN 1101 | Non-active cardiovascular, vascular and neurovascular implants | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) excluding heart valves introduced into the body by open heart surgeries | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) Cardiac valves excluded | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) excluding neurovascular implants | Annex IX(I) Annex IX(II) Annex XI(A) EXCLUDING HEART VALVES | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1102 | Non-active osteo- and orthopaedic implants | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) excluding joint implants | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Other devices except sutures, staples, screws, wedges, plates, wires, pins, clips and connectors are excluded.
MDN 1103 | Non-active dental implants and dental materials | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1104 | Non-active soft tissue and other implants | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Annexes X and XI without breast implants | _ | Annex IX(I) Annex IX(II) Annex XI(A) excluding breast implants whose purpose is the enlargement or replacement of the volume of the breast | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI(A) excluding breast implants | Annex IX(I) Annex IX(II) Annex XI(A) excluding breast implants | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
2. Non-active non-implantable devices
MDN 1201 | Non-active non-implantable devices for anaesthesia, emergency and intensive care | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1202 | Non-active non-implantable devices for administration, channelling and removal of substances, including devices for dialysis | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Devices for dialysis are excluded.
MDN 1203 | Non-active non-implantable guide catheters, balloon catheters, guidewires, introducers, filters, and related tools | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1204 | Non-active non-implantable devices for wound and skin care | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1205 | Non-active non-implantable orthopaedic and rehabilitation devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1206 | Non-active non-implantable ophthalmologic devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Contact lenses and intraocular lenses are excluded.
MDN 1207 | Non-active non-implantable diagnostic devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1208 | Non-active non-implantable instruments | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1209 | Non-active non-implantable dental materials | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding gels and solutions. | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1210 | Non-active non-implantable devices used for contraception or prevention of the transmission of sexually transmitted diseases | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Annex X and XI(B) Limited to male condoms | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Code scope limited to male condoms. | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1211 | Non-active non-implantable devices for disinfecting, cleaning and rinsing | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
MDN 1212 | Non-active non-implantable devices for processing and preservation of human cells, tissue or organs including in vitro fertilisation (IVF) and assisted reproductive technologies (ART) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _ | _ | Annex IX(I) Annex IX(II) Annex XI(A) | _
MDN 1213 | Non-active non-implantable devices composed of substances to be introduced into the human body via a body orifice or the dermal route | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) excluding devices for ingestion | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A) Devices (or their products of metabolism) that are systemically absorbed by the human body are excluded.
MDN 1214 | General non-active non-implantable devices used in health care and other non-active non-im­ plantable devices | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Annex X and XI(B) limited to gloves | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Excluding Class III devices | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) Limited to gloves | Annex X Annex IX(I) Annex IX(II) Annex XI(A) Annex XI(B) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | _ | Annex X Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex IX(II) Annex XI(A) Up to class IIb | Annex IX(I) Annex IX(II) Annex XI(A) | Annex IX(I) Annex XI(A)
II. HORIZONTAL CODES
1. Devices with specific characteristics
MDS code | Devices with specific characteristics
MDS 1001 | Devices incorporating medicinal substances | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Restricted to Article 117 devices. | Yes | Yes | Yes | Yes EXCLUDING HUMAN BLOOD DERIVATIVES | _ | Yes | _
MDS 1002 | Devices manufactured utilising tissues or cells of human origin, or their derivatives | Yes | Yes | _ | restricted to devices manufactured utilising human serum albumin (HSA) | _ | _ | Yes | Yes | _ | Yes | _ | _ | _ | _ | _ | _ | _ | _ | _ | _ | _
MDS 1003 | Devices manufactured utilising tissues or cells of animal origin, or their derivatives | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | excluding Reg. 722/2012 | _ | _ | Yes | Devices other than those intended to come into contact with intact skin only are excluded.
MDS 1004 | Devices which are also machinery as defined in point (a) of the second paragraph of Article 2 of Directive 2006/42/EC of the European Parliament and of the Council (1) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDS 1005 | Devices in sterile condition | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam), sterilisation with hydrogen peroxide, sterilisation with liquid chemical sterilising agents, thermic sterilisation with dry heat | Excluding formaldehyde sterilization. | Including aseptic processing; ethylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation; radiation sterilisation (gamma, x-ray, electron beam); sterilisation with hydrogen peroxide; sterilisation with liquid chemical sterilising agents; | Including aseptic processing; ethylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation radiation sterilisation (gamma, x-ray, electron beam); sterilisation with hydrogen peroxide; sterilisation with liquid chemical sterilising agents thermic sterilisation with dry heat | Limited to ethylene oxide gas sterilisation and radiation sterilisation | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) | Yes | including: aseptic processing; ethylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation; radiation sterilisation (gamma, x-ray, electron beam); sterilisation with hydrogen peroxide; sterilisation with liquid chemical sterilising agens; thermic sterilisation with dry heat | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam), plasma sterilisation, chemical sterilisation and dry heat sterilisation | Including EtO, Moist Heat, Aseptic, Chemical, Irradiation | Including aseptic processing, ethylene oxide gas sterilisation (EOG) low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray , electron beam), sterilisation with liquid chemical sterilising agents, sterilisation with hydrogen peroxide, sterilisation with dry heat | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam), sterilisation with hydrogen peroxide, thermic sterilisation with dry heat | Including ethylene oxide gas sterilisation (EtO, EOG, moist heat sterilisation, aseptic processing, radiation sterilisation (gamma, x-ray, electron beam) | The covered sterilization processes are : ethylene oxide gas sterilisation (EOG), radiation sterilisation (gamma, x-ray, electron beam), moist heat sterilization, dry heat, aseptic processing, low temperature steam, formaldehyde sterilization. | including aseptic processing; ethylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation; radiation sterilisation (gamma, x-ray, electron beam); sterilisation with hydrogen peroxide; thermic sterilisation with dry heat | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) | Aseptic Processing, Ethylene Oxide gas sterilization, Low temperature steam and formaldehyde sterilization, Low temperature H2O2 sterilization, Moist heat sterilization, Radiation sterilization (gamma, x-ray, electron beam) | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam, moist heat sterilisation, radiation sterilisation (gamma-ray, electron beam), dry heat. | Processes covered: aseptic processing, ethylene oxide gas sterilisation (EOG), moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) - Processes excluded: low temperature steam and formaldehyde sterilisation
MDS 1006 | Reusable surgical instruments | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes
MDS 1007 | Devices incorporating or consisting of nanomaterial | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | _ | _ | Yes | _ | Yes | _ | Yes | Yes | Up to class IIb | _ | Devices presenting a high or medium potential for internal exposure are excluded.
MDS 1008 | Devices utilising biologically active coatings and/or materials or being wholly or mainly absorbed or locally dispersed in the human body or are intended to undergo a chemical change in the body | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes
MDS 1009 | Devices incorporating software/utilising software/controlled by software, including devices intended for controlling, monitoring or directly influencing the performance of active or active implantable devices | Yes | Yes | Yes | Yes | Yes | Only for active devices | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | except active implantable MDs | Yes | Yes | Yes | Devices intended for controlling, monitoring or directly influencing the performance of the active implantable are excluded.
MDS 1010 | Devices with a measuring function | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDS 1011 | Devices in systems or procedure packs | Yes | Yes | Yes | Yes | Yes | Only devices in systems, procedure packs are excluded | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDS 1012 | Products without an intended medical purpose listed in Annex XVI to Regulation (EU) 2017/745 | Code will be only applicable as of the date of application of the relevant common specifications referred to in Article 1(2) of the MDR | Yes | Yes | only products within the designation according to MDA/MDN-codes excluding products according to section 3 of annex XVI | Yes | Only for active devices. Code will be only applicable as of the date of application of the relevant common specifications referred to in Article 1(2) of the MDR. | Code will be only applicable as of the date of application of the relevant common specifications referred to in Article 1(2) of the MDR. | Yes | Yes | All products without a medical purpose except: Devices intended to be totally or partially introduced into the human body through surgically invasive means for the purpose of fixation of body parts. | Yes | Yes | Yes | _ | Only applicable as of the date of application of the relevant common specifications referred to in Article 1(2) of the MDR. | restricted to products corresponding Regulation (EU) 2017/745 in Annex XVI section 1. and section 2. | Yes | Yes | Yes | Yes | _
MDS 1013 | Class III custom-made implantable devices | Yes | Yes | _ | only products within the designation according to MDA/MDN-codes | Yes | _ | Yes | Yes | Yes | Yes | _ | _ | Yes | _ | Yes | _ | _ | Yes | _ | Yes | _
MDS 1014 | Devices incorporating as an integral part an in vitro diagnostic device | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | _ | Yes | _ | Yes | Yes | Yes | Yes | Yes
2. Devices for which specific technologies or processes are used
MDT code | Devices for which specific technologies or processes are used
MDT 2001 | Devices manufactured using metal processing | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2002 | Devices manufactured using plastic processing | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2003 | Devices manufactured using non-metal mineral processing (e.g. glass, ceramics) | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2004 | Devices manufactured using non-metal non-mineral processing (e.g. textiles, rubber, leather, paper) | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2005 | Devices manufactured using biotechnology | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | _ | Yes | Yes
MDT 2006 | Devices manufactured using chemical processing | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2007 | Devices which require knowledge regarding the production of pharmaceuticals | Yes | Yes | _ | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | Yes | _
MDT 2008 | Devices manufactured in clean rooms and associated controlled environments | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2009 | Devices manufactured using processing of materials of human, animal, or microbial origin | Yes | Yes | _ | only products within the designation according to MDA/MDN-codes | excluding “under processing of materials of human origin” | _ | Yes | Yes | Yes | Yes | Yes | excluding human origin | Yes | Yes | Yes | restricted to devices manufactured using processing of materials of animal or microbial origin | Yes | _ | _ | Yes | Devices manufactured using materials of human origin and devices other than intended to come into contact with intact skin only are excluded.
MDT 2010 | Devices manufactured using electronic components including communication devices | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2011 | Devices which require packaging, including labelling | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
MDT 2012 | Devices which require installation, refurbishment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | _ | Yes | Yes | Yes | Yes | Yes | Yes EXCLUDING REFURBISHMENT | Yes | Yes | Yes
MDT 2013 | Devices which have undergone reprocessing | Yes | Only for medical devices that are forseen by the manufacturer to undergo reprocessing | Yes | excluding reprocessing of single-use devices | Yes | _ | Yes | Yes | Yes | Yes | Yes | _ | excluding reprocessing of single-use devices | _ | Yes | _ | Yes | Yes | _ | _ | Yes
2020-05-26
2020-02-14
102

## IVDR_2017_746_Codes
Regulation (EU) 2017/746 IVDR | Amount of Notified Bodies Notified | 1 | 2 | 2 | 3 | 4 | 5
| Notified Body Name & Number | DEKRA GmbH NB 0124 | BSI UK NB 0086 Brexit | BSI NL NB 2797 | TÜV SÜD PS NB 0123 | TÜV Rheinland NB 0197 | DEKRA Certification NV NB 0344
| Notification date | 2019-10-10 | 2019-10-28 | 2019-12-24 | 2020-06-17 | 2020-11-27 | 2021-06-16
| NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO | Link to NANDO
A. CODES REFLECTING THE DESIGN AND INTENDED PURPOSE OF THE DEVICE
1. Devices intended to be used for blood grouping
IVR CODE | Devices intended to be used to determine markers of the specific blood grouping systems to ensure the immu­ nological compatibility of blood, blood components, cells, tissue or organs that are intended for transfusion or transplantation or cell administration
IVR 0101 | Devices intended to determine markers of the ABO system [A (ABO1), B (ABO2), AB (ABO3)] | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0102 | Devices intended to determine markers of the Rhesus system [RH1 (D), RHW1, RH2 (C), RH3 (E), RH4 (c), RH5 (e)] | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0103 | Devices intended to determine markers of the Kell system [Kel1 (K)] | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0104 | Devices intended to determine markers of the Kidd system [JK1 (Jka), JK2 (Jkb)] | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0105 | Devices intended to determine markers of the Duffy system [FY1 (Fya), FY2 (Fyb)] | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR CODE | Other devices intended to be used for blood grouping
IVR 0106 | Other devices intended to be used for blood grouping | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
2. Devices intended to be used for tissue typing
IVR CODE | Devices intended to be used for tissue typing
IVR 0201 | Devices intended to be used for tissue typing (HLA A, B, DR) to ensure the immunological compati­ bility of blood, blood components, cells, tissue or organs that are intended for transfusion or trans­ plantation or cell administration | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0202 | Other devices intended to be used for tissue typing | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
3. Devices intended to be used for markers of cancer and non-malignant tumours
IVR CODE | Devices intended to be used for markers of cancer and non-malignant tumours except devices for human genetic testing
IVR 0301 | Devices intended to be used in screening, diagnosis, staging or monitoring of cancer | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0302 | Other devices intended to be used for markers of cancer and non-malignant tumours | Annex IX(I) Annex IX(II) Markers for the predisposition of tumor diseases | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
4. Devices intended to be used for human genetic testing
IVR CODE | Devices intended to be used for human genetic testing
IVR 0401 | Devices intended to be used in screening/confirmation of congenital/inherited disorders | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR CODE | Devices intended to be used for human genetic testing
IVR 0402 | Devices intended to be used to predict genetic disease/disorder risk and prognosis | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0403 | Other devices intended to be used for human genetic testing | - | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
5. Devices intended to be used to determine markers of infections/immune status
IVR CODE | Devices intended to be used for the screening, confirmation, identification of infectious agents or determination of immune status
IVR 0501 | Devices intended to be used for pre-natal screening of women in order to determine their immune status towards transmissible agents | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0502 | Devices intended to be used to detect the presence of, or exposure to transmissible agents in blood, blood components, cells, tissues or organs, or in any of their derivatives, to assess their suitability for transfusion, transplantation or cell administration | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0503 | Devices intended to be used to detect the presence of, or exposure to an infectious agent including sexually transmitted agents | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0504 | Devices intended to be used to determine the infectious load, to determine infective disease status or immune status and devices used for infectious disease staging | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0505 | Devices intended to be used to grow/isolate/identify and handle infectious agents | Annex IX(I) Annex IX(II) limited to devices to be used to identify and handle infectious agents | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0506 | Other devices intended to be used to determine markers of infections/immune status | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
6. Devices intended to be used for non-infectious pathologies, physiological markers, disorders/impairments (except human genetic testing), and therapeutic measures
IVR CODE | Devices intended to be used for a specific disease
IVR 0601 | Devices intended to be used for screening/confirmation of specific disorders/impairments | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0602 | Devices intended to be used for screening, determination or monitoring of physiological markers for a specific disease | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0603 | Devices intended to be used for screening, confirmation/ determination, or monitoring of allergies and intolerances | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0604 | Other devices intended to be used for a specific disease | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR CODE | Devices intended to be used to define or monitor physiological status and therapeutic measures
IVR 0605 | Devices intended to be used for monitoring of levels of medicinal products, substances or biological components | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0606 | Devices intended to be used for non-infectious disease staging | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0607 | Devices intended to be used for detection of pregnancy or fertility testing | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0608 | Devices intended to be used for screening, determination or monitoring of physiological markers | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0609 | Other devices intended to be used to define or monitor physiological status and therapeutic measures | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
7. Devices which are controls without a quantitative or qualitative assigned value
IVR CODE | Controls without a quantitative or qualitative assigned value
IVR 0701 | Devices which are controls without a quantitative assigned value | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0702 | Devices which are controls without a qualitative assigned value | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
8. Class A devices in sterile condition
IVR CODE | Class A devices in sterile condition
IVR 0801 | Devices referred to in point 2.5 (rule 5), under a), of Annex VIII to Regulation (EU) 2017/746 | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0802 | Instruments intended specifically to be used for in vitro diagnostic procedures referred to in point 2.5 (rule 5), under b), of Annex VIII to Regulation (EU) 2017/746 | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
IVR 0803 | Specimen receptacles referred to in point 2.5 (rule 5), under c), of Annex VIII to Regulation (EU) 2017/746 | Annex IX(I) Annex IX(II) | Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI | Annex IX(I) Annex IX(II) Annex XI | Annex X Annex IX(I) Annex IX(II) Annex XI
II. HORIZONTAL CODES
1. In vitro diagnostic devices with specific characteristics
IVS CODE | In vitro diagnostic devices with specific characteristics
IVS 1001 | Devices intended to be used for near-patient testing | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1002 | Devices intended to be used for self-testing | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1003 | Devices intended to be used as companion diagnostics | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1004 | Devices manufactured utilising tissues or cells of human origin, or their derivatives | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1005 | Devices in sterile condition | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam), sterilisation with hydrogen peroxide, sterilisation with liquid chemical sterilising agents | Including aseptic processing, ethylene oxide gas sterilisation (EOG), low temperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam) | Yes | including: aseptic processing; etylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation; radiation sterilisation (gamma, x-ray, electron beam); | including: aseptic processing; ethylene oxide gas sterilisation (EOG); low temperature steam and formaldehyde sterilisation; moist heat sterilisation; radiation sterilisation (gamma, x-ray, electron beam); sterilisation with hydrogen peroxide; sterilisation with liquid chemical sterilising agens; thermic sterilisation with dry heat | including: aseptic processing, ethylene oxide gas sterilisation (EOG), low teperature steam and formaldehyde sterilisation, moist heat sterilisation, radiation sterilisation (gamma, x-ray, electron beam).
IVS 1006 | Calibrators (point 1.5 of Annex VIII to Regulation (EU) 2017/746) | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1007 | Control materials with quantitative or qualitative assigned values intended for one specific analyte or multiple analytes (point 1.6 of Annex VIII to Regulation (EU) 2017/746) | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1008 | Instruments, equipment, systems or apparatus | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1009 | Software that are devices in themselves including software apps, software for data analysis, and for defining or monitoring therapeutic measures | Yes | Yes | Yes | Yes | Yes | Yes
IVS 1010 | Devices incorporating software/utilising software/controlled by software | Yes | Yes | Yes | Yes | Yes | Yes
2. In vitro diagnostic devices for which specific technologies are used
IVT CODE | In vitro diagnostic devices for which specific technologies are used
IVT 2001 | In vitro diagnostic devices manufactured using metal processing | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2002 | In vitro diagnostic devices manufactured using plastic processing | Yes | Yes | Yes | Yes | Yes | Yes
IVT CODE | In vitro diagnostic devices for which specific technologies are used
IVT 2003 | In vitro diagnostic devices manufactured using non-metal mineral processing (e.g. glass, ceramics) | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2004 | In vitro diagnostic devices manufactured using non-metal non-mineral processing (e.g. textiles, rub­ ber, leather, paper) | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2005 | In vitro diagnostic devices manufactured using biotechnology | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2006 | In vitro diagnostic devices manufactured using chemical processing | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2007 | In vitro diagnostic devices which require knowledge regarding the production of pharmaceuticals | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2008 | In vitro diagnostic devices manufactured in clean rooms and associated controlled environments | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2009 | In vitro diagnostic devices manufactured using processing of materials of human, animal or micro­ bial origin | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2010 | In vitro diagnostic devices manufactured using electronic components including communication de­ vices | Yes | Yes | Yes | Yes | Yes | Yes
IVT 2011 | In vitro diagnostic devices which require packaging, including labelling | Yes | Yes | Yes | Yes | Yes | Yes
3. In vitro diagnostic devices which require specific knowledge in examination procedures for the purpose of product verification
IVP CODE | In vitro diagnostic devices which require specific knowledge in examination procedures
IVP 3001 | In vitro diagnostic devices which require knowledge regarding agglutination tests | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3002 | In vitro diagnostic devices which require knowledge regarding biochemistry | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3003 | In vitro diagnostic devices which require knowledge regarding chromatography | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3004 | In vitro diagnostic devices which require knowledge regarding chromosomal analysis | Yes | Yes | Yes | Yes | Yes | _
IVP 3005 | In vitro diagnostic devices which require knowledge regarding coagulometry | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3006 | In vitro diagnostic devices which require knowledge regarding flow cytometry | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3007 | In vitro diagnostic devices which require knowledge regarding immunoassays | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3008 | In vitro diagnostic devices which require knowledge regarding lysis based testing | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3009 | In vitro diagnostic devices which require knowledge regarding measurement of radioactivity | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3010 | In vitro diagnostic devices which require knowledge regarding microscopy | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3011 | In vitro diagnostic devices which require knowledge regarding molecular biological testing including nucleic acid assays and next generation sequencing (NGS) | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3012 | In vitro diagnostic devices which require knowledge regarding physical chemistry including electro­ chemistry | Yes | Yes | Yes | Yes | Yes | Yes
IVP CODE | In vitro diagnostic devices which require specific knowledge in examination procedures
IVP 3013 | In vitro diagnostic devices which require knowledge regarding spectroscopy | Yes | Yes | Yes | Yes | Yes | Yes
IVP 3014 | In vitro diagnostic devices which require knowledge regarding tests of cell function | Yes | Yes | Yes | Yes | Yes | Yes
4. In vitro diagnostic devices which require specific knowledge in laboratory and clinical disciplines for the purpose of product verification
IVD CODE | In vitro diagnostic devices which require specific knowledge in laboratory and clinical disciplines for the purpose of product verification
IVD 4001 | In vitro diagnostic devices which require knowledge regarding bacteriology | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4002 | In vitro diagnostic devices which require knowledge regarding clinical chemistry/biochemistry | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4003 | In vitro diagnostic devices which require knowledge regarding detection of transmissible agents (without organisms or viruses) | Yes | Yes | Yes | Yes | Yes | _
IVD 4004 | In vitro diagnostic devices which require knowledge regarding genetics | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4005 | In vitro diagnostic devices which require knowledge regarding haematology/haemostasis, including coagulation disorders | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4006 | In vitro diagnostic devices which require knowledge regarding histocompatibility and immunoge­ netics | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4007 | In vitro diagnostic devices which require knowledge regarding immunohistochemistry/histology | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4008 | In vitro diagnostic devices which require knowledge regarding immunology | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4009 | In vitro diagnostic devices which require knowledge regarding molecular biology/diagnostics | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4010 | In vitro diagnostic devices which require knowledge regarding mycology | _ | Yes | Yes | Yes | Yes | _
IVD 4011 | In vitro diagnostic devices which require knowledge regarding parasitology | Yes | Yes | Yes | Yes | Yes | Yes
IVD 4012 | In vitro diagnostic devices which require knowledge regarding virology | Yes | Yes | Yes | Yes | Yes | Yes