## Sheet1
序号 | 设备名称 | English name | Brand | Model | Configuration
1 | 无创呼吸机 | NIV: Non-invesive Ventilator | Philips | V60；DS-AVAPS-AE | 1 set of consumable material with system. Open resourse
2 | 无创呼吸机管路+口鼻罩 | Tube + Mask | Philips | Mask: AMARA or AF31
3 | 无创呼吸机管路+鼻罩 | Tube + Mask | Philips
4 | 呼吸湿化仪 | Humidifier | ThermoFisher Scientific | 570
|  | Respiratory Humidifier | Fisher & Paykel | MR810AEA | Main system（MR810AEA），humidifier pot（MR290），respiratory circuit（900MR810E），heater strip cable( system default)
5 | 心电监护 | Patient Monitoring system | Philips | IntelliVue MX500 | 12- lead ECG, SPO2, BP, RR, PR
|  |  | Philips | IntelliVue MX450 | 12- lead ECG, SPO2, BP, RR, PR
6 | 经鼻高流量 | Respiratory Humidifiers | Fisher & Paykel | System：PT101AZ | Core block, heated respiratory hose，cable, air filter, patient interface, accessories
7 | 经鼻高流量管道 | Tube |  | Tube: 900PT501
8 | 输液泵 | Infusion Pump/volume pump | B. Braun Melsungen | Infusomat Space | Control pannel, display, pressure sensor, air borne sensor, drug storage, patient Patient-controlled analgesia device and power pack
|  |  | LIFEPUM来普（国产） | SA513
9 | 注射泵 | Injection Pump | B. Braun Melsungen； 麦科田（国产），浙大（卖给史密斯） |  | Mono track or dual track
10 | 肠内营养泵 | Enteral Feeding Pump | Tyco | Kangaroo ePump | EFP system, column clamp, power adapter, battery pack
11 | CRRT 床旁血滤机 | Continuous Renal Replacement Therapy | B. Braun Melsungen | Dialog+
|  |  | Baxter | Auarius
|  |  | Gambro Lundia | Prisma Flex
12 | 体外膜肺氧合机 | ECMO（Extracorporeal membrane oxygenation) | Maquet
|  |  | Medtronic | 560 | Centrifugal pump, blood control monitoring system, affinity oxygenator, saturation of blood oxygen & PCV meter, auto clot timer, air-oxygen mixer, cart
13 | 除颤仪 | Defibrillator | Philips | DFM100 | 3- lead ECG, adult/children defibrillation
14 | 血气分析仪 | Blood-gas Analyzer | Radiometer | ABL90
15 | 床旁超声机 | Portable Ultrasound system | Philips | CX50，Innosight，Sparq | CX50 3 probes；Innosight 3 probes； Spark 3 probes( No button touch sreen, easy to sterilize
16 | 无创呼吸机 | NIV: Non-invesive Ventilatitor | Philips | V60；DS-AVAPS-AE
17 | 无创呼吸机管路+口鼻罩 | Tube + Mask | Philips | 面罩：AMARA； AF31
18 | 呼吸湿化仪 | Humidifier | ThermoFisher Scientific | 570
19 | 心电监护 | Patient Monitoring system | Philips | IntelliVue MX500 | 12- lead ECG, SPO2, BP, RR, PR
|  |  | Philips | IntelliVue MX450 | 12- lead ECG, SPO2, BP, RR, PR