## Sheet1
| Implementing Reg 2021 | 207/2012 | Change Y/N
preamble 5 | on their website in an official Union language(s) determined by the Member State in which the device is made available to the user or patient | (...) (5) the instructions for use in electronic form should also be available through a website. (6) Regardless of the language obligations imposed on manufacturers by the law of the Member States, manufacturers who provide instructions for use in electronic form should indicate on their website in which Union languages those instructions are available
preamble 6 | eIFU provided in addition to paper ones | same requirement in the old reg
preamble 7 | eIFU without prejudice to IC obligations - eIFU doesn’t replace the IC obligation
preamble 9 | the 207/2012 reg is repealed but continues to apply to devices already on the market as per transitional period
| Article 1 | Article 1
| This Regulation establishes the conditions under which information on safe and proper use, expected performances and precautions to be taken when using a medical device may be provided by manufacturers through the form of electronic instructions for use, as referred to in Annex I, Chapter III, point 23.1(f), to Regulation (EU) 2017/745. | This Regulation establishes the conditions under which the instructions for use of medical devices referred to in point 15 of Annex 1 to Directive 90/385/EEC and in point 13 of Annex I to Directive 93/42/EEC may be provided in electronic form instead of in paper form. | Y
| It also establishes certain requirements concerning contents of and websites for instructions for use that are provided in electronic form in addition to instructions for use in paper form. | It also establishes certain requirements concerning instructions for use in electronic form which are provided in addition to complete instructions for use in paper form relating to their contents and websites. | Y
| This Regulation does not cover products listed in Annex XVI of Regulation (EU) 2017/745. |  | New
| Article 2 | Article 2
| For the purposes of this Regulation, the following definitions shall apply: | For the purposes of this Regulation, the following definitions shall apply: | N
|  | (a) ‘instructions for use’ means information provided by the manufacturer to inform the user of the device of its safe and proper use, of its expected performances and of any recautions to be taken as outlined in the relevant parts of point 15 of Annex 1 to Directive 90/385/EEC and of point 13 of Annex I to Directive 93/42/EEC; | Yes
| (1) 'instructions for use in electronic form' means instructions for use displayed in electronic form by the device, contained in portable electronic storage media supplied by the manufacturer together with the device, or made available through a software or a website; | (b) ‘instructions for use in electronic form’ means instructions for use displayed in electronic form by the device, contained in portable electronic storage media supplied by the manufacturer together with the device, or instructions for use available through a website; | N
| (2) 'professional users' means persons using the medical device in the course of their work in the framework of a professional healthcare activity; | (c) ‘professional users’ means persons using the medical device in the course of their work and in the framework of a professional healthcare activity; | N
| (3)`fixed installed medical devices' means devices and their accessories which are intended to be installed, fastened or otherwise secured at a specific location in a health institution so that they cannot be moved from this location or detached without using tools or apparatus, and which are not specifically intended to be used within a mobile healthcare institution. | (d) ‘fixed installed medical devices’ means devices and their accessories which are intended to be installed, fastened or otherwise secured at a specific location in a healthcare facility so that they cannot be moved from this location or detached without using tools or apparatus, and which are not specifically intended to be used within a mobile healthcare facility. | N
| Article 3 | Article 3
| (1) Manufacturers may provide instructions for use in electronic form instead of in paper form where those instructions relate to any of the following devices: | 1. Subject to the conditions set out in paragraph 2, manufacturers may provide instructions for use in electronic form instead of in paper form where those instructions relate to any of the following devices: | Y
| (a) implantable and active implantable medical devices and their accessories covered by Regulation (EU) 2017/745; | (a) active implantable medical devices and their accessories covered by Directive 90/385/EEC intended to be used exclusively for the implantation or programming of a defined active implantable medical device; | Y
|  | (b) implantable medical devices and their accessories covered by Directive 93/42/EEC intended to be used exclusively for the implantation of a defined implantable medical device; | Y
| (b) fixed installed medical devices covered by Regulation 2017/745; | (c) fixed installed medical devices covered by Directive 93/42/EEC; | Y
| (c) medical devices and their accessories covered by Regulation (EU) 2017/745 and fitted with a built-in system visually displaying the instructions for use. | (d) medical devices and their accessories covered by Directives 90/385/EEC and 93/42/EEC fitted with a built-in system visually displaying the instructions for use; | Y
|  | (e) stand-alone software covered by Directive 93/42/EEC. | N
| (2) Manufacturers may provide instructions for use in electronic form instead of in paper form for the devices listed in paragraph 1 under the following conditions: | 2. Manufacturers may provide instructions for use in electronic form instead of in paper form for the devices listed in paragraph 1 under the following conditions: | N
| (a) the devices and accessories are intended for exclusive use by professional users, and | (a) the devices and accessories are intended for exclusive use by professional users; | N
| (b)the use by other persons is not reasonably foreseeable. | (b) the use by other persons is not reasonably foreseeable. | N
| (3)For software covered by Regulation (EU) 2017/745, manufacturers may provide instructions for use in electronic form by means of the software itself instead of in paper form. |  | New
| Article 4 | Article 4
| (1) Manufacturers of devices referred to in Article 3, paragraphs 1 and 3, that provide instructions for use in electronic form to users instead of in paper form shall undertake a documented risk assessment which shall cover at least the following elements: | 1. Manufacturers of devices referred to in Article 3 that provide instructions for use in electronic form instead of in paper form shall undertake a documented risk assessment which shall cover at least the following elements: | N
| (a) knowledge and experience of the intended users in particular regarding the use of the device and user needs; | (a) knowledge and experience of the intended users in particular regarding the use of the device and user needs; | N
| (b) characteristics of the environment in which the device will be used; | (b) characteristics of the environment in which the device will be used; | N
| (c) knowledge and experience of the intended user of the hardware and software needed to display the instructions for use in electronic form; | (c) knowledge and experience of the intended user of the hardware and software needed to display the instructions for use in electronic form; | N
| (d) access of the user to the reasonably foreseeable electronic resources needed at the time of use; | (d) access of the user to the reasonably foreseeable electronic resources needed at the time of use; | N
| (e)performance of safeguards to ensure that the electronic data and content are protected from tampering; | (e) performance of safeguards to ensure that the electronic data and content are protected from tampering; | N
| (f)safety and back-up mechanisms in the event of a hardware or software fault, particularly if the instructions for use in electronic form are integrated within the device; | (f) safety and back-up mechanisms in the event of a hardware or software fault, particularly if the instructions for use in electronic form are integrated within the device; | N
| (g)foreseeable medical emergency situations requiring the provision of information in paper form; | (g) foreseeable medical emergency situations requiring the provision of information in paper form; | N
| (h) impact caused by the temporary unavailability of the specific website or of the Internet in general, or of their access in the healthcare institution as well as the safety measures available to cope with such a situation; | (h) impact caused by the temporary unavailability of the specific website or of the Internet in general, or of their access in the healthcare facility as well as the safety measures available to cope with such a situation; | N
| (i)evaluation of the period within which the instructions for use shall be provided in paper form at the user's request; | (i) evaluation of the time period within which the instructions for use shall be provided in paper form at the users request. | N
| (j) assessment of the website's compatibility displaying the electronic instructions for use with different devices which could be used to display those instructions; |  | New
| (k)management of different versions of the instructions for use, where applicable in accordance with Article 5 (8). |  | New
| (2) The risk assessment for the provision of the instructions for use in electronic form shall be updated in view of the experience gained in the post-marketing phase. | 2. The risk assessment for the provision of the instructions for use in electronic form shall be updated in view of the experience gained in the post-marketing phase. | N
| Article 5 | Article 5
| Manufacturers of devices referred to in Article 3, paragraphs 1 and 3, may provide instructions for use to users in electronic form instead of in paper form under the following conditions: | Manufacturers of devices referred to in Article 3 may provide instructions for use in electronic form instead of in paper form under the following conditions: | Y
| (1) the risk assessment referred to in Article 4 shall demonstrate that providing instructions for use in electronic form maintains or improves the level of safety obtained by providing the instructions for use in paper form; | (1) the risk assessment referred to in Article 4 shall demonstrate that providing instructions for use in electronic form maintains or improves the level of safety obtained by providing the instructions for use in paper form; | N
| (2) they shall provide instructions for use in electronic form in all Member States where the product is made available or put into service unless duly justified in the risk assessment referred to in Article 4; | (2) they shall provide instructions for use in electronic form in all Member States where the product is made available or put into service, unless duly justified in the risk assessment referred to in Article 4; | N
| (3)they shall have a system in place to provide the instructions for use in paper form at no additional cost for the user, within the time period set out in the risk assessment referred to in Article 4 and at the latest within 7 calendar days of receiving a request from the user or at the time of delivery of the device if so requested at the time of order; | (3)They shall have a system in place to provide the instructions for use in printed paper form at no additional cost for the user, within the time period set out in the risk assessment referred to in Article 4 and at the latest within 7 calendar days of receiving a request from the user or at the time of delivery of the device if so requested at the time of order; | N
| (4) they shall provide, on the device or a leaflet, information on foreseeable medical emergency situations and, for devices fitted with a built-in system visually displaying the instructions for use, information on how to start the device; | (4) they shall provide, on the device or on a leaflet, information on foreseeable medical emergency situations and, for devices fitted with a built-in system visually displaying the instructions for use, information on how to start the device; | N
| (5)they shall ensure the proper design and functioning of the instructions for use in electronic form and provide verification and validation evidence to this effect; | (5) they shall ensure the proper design and functioning of the instructions for use in electronic form and provide verification and validation evidence to this effect; | N
| (6) for medical devices fitted with a built-in system visually displaying the instructions for use, they shall ensure that displaying the instructions for use does not impede the safe use of the device, in particular, life-monitoring or life-supporting functions; | (6) for medical devices fitted with a built-in system visually displaying the instructions for use, they shall ensure that displaying the instructions for use does not impede the safe use of the device, in particular life-monitoring or life-supporting functions; | N
| (7)they shall provide, in their catalogue or other appropriate device information support, information on software and hardware requirements needed to display the instructions for use; | (7) they shall provide, in their catalogue or in other appropriate device information support, information on software and hardware requirements needed to display the instructions for use; | N
| (8) they shall have a system in place to clearly indicate when the instructions for use have been revised and to inform each user of the device thereof if the revision was necessary for safety reasons; | (8) they shall have a system in place to clearly indicate when the instructions for use have been revised and to inform each user of the device thereof if the revision was necessary for safety reasons; | N
| (9)for devices with a defined expiry date, except implantable devices, they shall keep the instructions for use available for users in electronic form for 10 years after the last device has been placed on the market and at least 2 years after the end of the expiry date of the last produced device; | (9) for devices with a defined expiry date, except implantable devices, they shall keep the instructions for use available for the users in electronic form for at least 2 years after the end of the expiry date of the last produced device; | Y
| (10) for devices without a defined expiry date and implantable devices, they shall keep the instructions for use available for the users in electronic form for 15 years after the last device has been placed on the market; | (10) for devices without a defined expiry date and for implantable devices, they shall keep the instructions for use available for the users in electronic form for a period of 15 years after the last device has been manufactured. | Y
| (11) the instructions for use shall be available on their website in an official language of the Union determined by the Member State in which the device is made available to the user or patient; |  | New
| (12) effective systems and procedures shall be in place to ensure that device users having downloaded instructions for use from the website can be informed in case of updates or corrective actions with regards to those instructions for use; |  | New
| (13) all issued historical electronic versions of the instructions for use shall be available on the |  | New
| website. |  | New
| Article 6 | Article 6
| (1) Manufacturers shall clearly indicate on the label that the instructions for use of the device are supplied in electronic form instead of in paper form. That information shall be provided on the packaging for each unit or, where appropriate, on the sales packaging. In the case of fixed installed medical devices, that information shall also be provided on the device itself. In the case of software, the information shall be provided at the location from where access to the software is granted. | 1. Manufacturers shall clearly indicate that the instructions for use of the device are supplied in electronic form instead of in paper form. That information shall be provided on the packaging for each unit or, where appropriate, on the sales packaging. In the case of fixed installed medical devices, that information shall also be provided on the device itself. | Y
| (2) Manufacturers shall provide information on how to access the instructions for use in electronic form. | 2. Manufacturers shall provide information on how to access the instructions for use in electronic form. | N
| That information shall be provided as set out in the second subparagraph of paragraph 1 or, if not practicable, in a paper document supplied with each device. | That information shall be provided as set out in the second subparagraph of paragraph 1 or, if not practicable, in a paper document supplied with each device. | N
| (3)The information on how to access the instructions for use in electronic form shall contain the following: | 3. The information on how to access the instructions for use in electronic form shall contain the following: | N
| (a) any information needed to view the instructions for use; | (a) any information needed to view the instructions for use; | N
| (b) the Basic UDI-DI and/or UDI-DI of the device, as respectively referred to in Article 27(6) and Article 27(1), point (a)(i), of Regulation (EU) 2017/745, and any additional information allowing the identification of the device, including its name and if applicable the model; | (b) a unique reference, giving direct access, and any other information needed by the user to identify and access the appropriate instructions for use; | Y
| (c) relevant manufacturer contact details e.g. manufacturer's name, address, email address or other means of online communication and website; | (c) relevant manufacturer contact details; | Y
| (d) where and how instructions for use in paper form can be requested and within which time they shall be obtained at no additional cost in conformity with Article 5, point (3). | (d) where, how and within which time instructions for use in paper form can be requested and shall be obtained at no additional cost in conformity with Article 5. | Y
| (4) Where, for devices and accessories referred to in Article 3 (1), point (a), a part of the instructions for use is intended to be provided to the patient, that part shall not be provided in electronic form. | 4. Where a part of the instructions for use is intended to be provided to the patient, that part shall not be provided in electronic form. | Y
| (5)The instructions for use in electronic form shall be available entirely as text, which may contain symbols and graphics, with at least the same information as the instructions for use in paper form. Video or audio files may be provided in addition to the text. | 5. The instructions for use in electronic form shall be available entirely as text which may contain symbols and graphics with at least the same information as the instructions for use in paper form. Video or audio files may be offered in addition to the text. | N
| Article 7 | Article 7
| (1) Where manufacturers provide the instructions for use in electronic form on an electronic storage medium together with the device, or where the device itself is fitted with a built-in system visually displaying the instructions for use, the instructions for use in electronic form shall also be made accessible to the users through a website. | 1. Where manufacturers provide the instructions for use in electronic form on an electronic storage medium together with the device or where the device itself is fitted with a built-in system visually displaying the instructions for use, the instructions for use in electronic form shall also be made accessible to the users through a website. | N
| (2) Any website containing instructions for use of a device which are provided in electronic form instead of in paper form shall comply with the following requirements: | 2. Any website containing instructions for use of a device which are provided in electronic form instead of in paper form shall comply with the following requirements: | N
| (a) the instructions for use shall be provided in a commonly used format that can be read with freely available software; | (a) the instructions for use shall be provided in a commonly used format that can be read with freely available software; | N
| (b) it shall be protected against unauthorised access and tampering of content in accordance with Article 4 (1), point (e); | (b) it shall be protected against hardware and software intrusion; | Y
| (c) it shall be provided in such a way that the server downtime and display errors are reduced as far as possible; | (c) it shall be provided in such a way that the server downtime and display errors are reduced as far as possible; | N
|  | (d) it shall mention in which Union languages the manufacturer provides the instructions for use in electronic form; | Y
| (d) it shall fulfil the requirements of Regulation (EU) 2016/679; | (e) it shall fulfil the requirements of Directive 95/46/EC; | Y
| (e) the Internet address as displayed in accordance with Article 6 (2) shall be stable and directly accessible during the periods set out in Article 5, points (9) and (10); | (f)The Internet address as displayed in accordance with Article 6(2) shall be stable and directly accessible during the periods set out in points (9) and (10) of Article 5; | N
| (f)all previous versions of the instructions for use issued in electronic form as referred to in Article 5, point (13), and their date of publication shall be available on the website. | (g) all previous versions of the instructions for use issued in electronic form and their date of publication shall be available on the website. | N
| Article 8 | Article 8
| Where applicable, the fulfilment of the obligations laid down in Articles 4 to 7 of this Regulation shall be reviewed by a notified body during the procedure applicable for conformity assessment as referred to in Article 52 of Regulation (EU) 2017/745. | Except for medical devices of Class I, as defined in Annex IX to Directive 93/42/EEC, the fulfilment of the obligations laid down in Articles 4 to 7 of this Regulation shall be reviewed by a notified body during the procedure applicable for conformity assessment as referred to in Article 9 of Directive 90/385/EEC or Article 11 of Directive 93/42/EEC. The review shall be based on a specific sampling method adapted to the class and the complexity of the product. | Y
| Article 9 | Article 9
| Instructions for use in electronic form, which are provided in addition to complete instructions for use in paper form, shall be consistent with the content of the instructions for use in paper form. | Instructions for use in electronic form which are provided in addition to complete instructions for use in paper form shall be consistent with the content of the instructions for use in paper form. | N
| Where such instructions for use are provided through a website, this website shall fulfil the requirements set out in Article 7 (2), points (b), (d), (e) and (f). | Where such instructions for use are provided through a website, this website shall fulfil the requirements set out in points (b), (e ) and (g) of paragraph 2 of Article 7. | Y
Article 10
| Commission Regulation (EU) No 207/2012 is repealed. However, it shall continue to apply to devices placed on the market or put into service in accordance with Article 120 (3) of Regulation (EU) 2017/745 until 26 May 2024. References to Regulation (EU) No 207/2012 shall be construed as references to this Regulation and read in accordance with the correlation table in the Annex |  | Y
| Article 11 | Article 10
| This Regulation shall enter into force on the twentieth day following that of its publication in the Official Journal of the European Union. This Regulation shall be binding in its entirety and directly applicable in all Member States. | This Regulation shall enter into force on the 20th day following its publication in the Official Journal of the European Union. It shall apply from 1 March 2013. This Regulation shall be binding in its entirety and directly applicable in all Member States. | N